# Letter of Transmittal

| To: | Jason Parker, AICP |  |  |  |  |  | Date: |  | 7/16/2024 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Town of South Kingstown Planning Dept. |  |  |  |  |  | Job No: |  | 3287-001 |
|  | 180 High Street |  |  |  |  |  | Re: |  | Master Plan TRC Comments |
|  | Wakefield, RI 02879 (401) 789-9331 |  |  |  |  |  |  |  |  |
| Number of Copies: |  |  | Description: |  |  |  |  |  |  |
| 8 |  |  | 11” x 17” Submission Plans (reduced size) |  |  |  |  |  |  |
| Remarks: |  |  |  |  |  |  |  |  |  |  |
| Dear Jason, Please find attached revised Master plan Flexible Frontage design that has incorporated the following - Lot 5 is revised to remove access easements over Lots 2,3,and 4. - A reinforced turf area is proposed for the fire truck turning hammerhead. - A 20 foot paved entrance drive is proposed in a curved design to preserve existing trees. - Gravel private driveways are proposed beyond the entrance drive. - Impervious surface is greatly reduced. A stormwater best management practice raingarden for to address water quality improvement will be designed. - Maintenance of the entrance drive and reinforced fire truck hammerhead will be the responsibility of the homeowners association. The revised Flexible frontage plan is respectfully submitted for planning board review. Sincerely |  |  |  |  |  |  |  |  |  |
| From: |  |  |  |  |  |  |  |  |  |
| Christopher Duhamel, PE, PLS |  |  |  |  |  |  |  |  |  |
| Principal |  |  |  |  |  |  |  |  |  |
| cduhamel@diprete-eng.com |  |  |  |  |  |  |  |  |  |